## Slide 1: Station Installation Issues and Techniques IRIS Metadata Workshop January 9, 2012 Peter Davis Project IDA Scripps Institution of Oceanography University of California, San Diego

## Slide 2
Topics to be addressed:
  Sources of seismic noise
  Site selection criteria
  Installation techniques

## Slide 3: Bandwidth + Dynamic Range of modern sensors
M~9.2 Sumatra
M~0.5 local
Notes: Example of goals
Recollection about 20 sps data
about 1 Tb/yr logged, 18 Tb/yr usage

## Slide 4: Size of Earthquakes

## Slide 5
Sources of noise:
  Ocean waves
  Temperature changes
  Atmospheric pressure changes
  Sensor instability

## Slide 6
Temperature effects:
Beyond 250 seconds period, temperature becomes very important
Temperature dependence varies with the model of seismometer
Temperature changes of 1e-6 oC are important
Foam thermal insulation at GSN station in the UAE

## Slide 7
Effect of changes in barometric pressure:
  buoyancy of the seismometer mass
  Newtonian attraction of air mass

## Slide 8
STS1 placed under vacuum at GSN station SUR
Vacuum lost!

## Slide 9
(Zuern and Widmer, 1995)
Barometer data used to remove effect of air pressure changes in seismic data:

## Slide 10
Effect of changes in barometric pressure:
  buoyancy of the seismometer mass
  Newtonian attraction of air mass
  loading effect of air mass

## Slide 11
Change of air pressure in a cavity
Symmetric Case

## Slide 12
Change of air pressure in a cavity
Asymmetric Case

## Slide 13
(Sorrels, 1971)
KS-54000 borehole seismometer installed at WRAB GSN station

## Slide 14
Examples of human-induced noise:
  Vehicular traffic (cars, trucks, trains)
  Repeating machinery (pumps, generators)

## Slide 15
http://www.iris.edu/servlet/quackquery/
IRIS DMC provides tools to analyze data

## Slide 16
Goal of a good installation:
  accurate recording of seismic signals
  low background noise
  ease of servicing
  stability

## Slide 17
Characteristics of a good site:
  access to bedrock
    The harder the rock, the better

## Slide 18
Characteristics of a good site:
  access to bedrock
  far from human-induced noise sources

## Slide 19
Characteristics of a good site:
  access to bedrock
  far from human-induced noise sources
  clear of trees or towers

## Slide 20
Suggested clearances:
  Hydroelectric turbines – 10 km
  Frequent train traffic – 3 km
  Irrigation pumping stations – 2 km
  Large machinery – 1-2 km

## Slide 21
Characteristics of a good site:
  access to bedrock
  far from human-induced noise sources
  clear of trees or towers
  good drainage

## Slide 22
Characteristics of a good site:
  access to bedrock
  far from human-induced noise sources
  clear of trees or towers
  good drainage
  secure

## Slide 23
Some examples of installation designs:
  GSN underground vault
  STS2 enclosure in a vault
  High frequency sensor deployed at a temporary site
  Broadband sensor vault
  The Earthscope Transportable Array

## Slide 24
A GSN underground vault

## Slide 25
GSN installation in a tunnel

## Slide 26
STS2 installation design for the German Regional Seismographic Network (GRSN).
Courtesy E. Wielandt.

## Slide 27
Codex design courtesy M. West.

## Slide 29: Field Station Design
Transportable Array
Courtesy R. Busby

## Slide 30
Transportable Array
Have truck, will travel
Flex conduit was replaced with straight sticks reducing field time significantly. Wires are pulled during construction phase
Current method; custom trailer with water tank, room for cement bags, and onboard mixer
Using 3 vehicles, 1 trailers, 1 backhoe, and three people, it is feasible to construct 4 sites in 5 days
42” dia. pipe set into 7’ deep pit with concrete on either side of rubber membrane

## Slide 31
Transportable Array
Concrete pad, vault conduit installation

## Slide 32
Transportable Array
Alignment rod used orient sensor.
Gyrocompass used to orient guide tape.

## Slide 33
Transportable Array
Cover provides security for equipment.
Insulation separates sensor from system electronics

## Slide 34
Transportable Array
Soil provides additional thermal insulation.

## Slide 35
Transportable Array
This soil will be moved to cover the vault.

## Slide 36
Transportable Array
The vault is completely covered. These are solar panels and a cell phone antenna for telemetry.

## Slide 37: Modularity in Communications
Cellular Modem
AC VSAT or BB provider
Solar VSAT

## Slide 38
Please remember:
  place seismometer on bedrock
  create stable temperatures
  avoid human noise sources
  avoid trees or towers
  guard against flooding
  consider security of installation