## Slide 1: Data Quality Control of IRIS/IDA GSN Data IRIS Metadata Workshop January12, 2012 Peter Davis Project IDA Scripps Institution of Oceanography University of California, San Diego

## Slide 3
Streckeisen STS-1
Teledyne KS-54000-I
Seismometers

## Slide 5
Solar power
Power:
Thermoelectricity

## Slide 6: Telemetry links:
LAN
leased lines / VSATs
international dialing
local ISP

## Slide 7
Detecting problems you expect:
(These computer programs written at UCSD.)

## Slide 8
sample rate correction (clocks on old systems are permitted to drift freely)
Verify Timing

## Slide 9
Timing check:
(We make use of earthquake locations announced by USGS NEIC.)
Quake 1
Quake 2
Quake 3

## Slide 10
loss of vacuum (We examine long data segments.)

## Slide 11
compare primary and secondary sensors(We exploit data redundancy.)
KS-54000 – OK
STS2 – failed

## Slide 12
problems unique to tri-axial sensors
STS2
STS2
STS2
KS-54000
KS-54000
KS-54000

## Slide 14: Seismometer masses saturated

## Slide 15: Excessive Spiking

## Slide 16: Clipping

## Slide 17: Take advantage of IRIS resources:
http://www.iris.edu/servlet/quackquery/

## Slide 18: ARU:
Equipment relocated to new vault by EME staff

## Slide 19: ARU:
http://www.iris.edu/servlet/quackquery/

## Slide 20: Take advantage of other resources:
http://www.ldeo.columbia.edu/~ekstrom/Projects/WQC//MONTHLY_HTML/V_2011111_rank.html

## Slide 21
Checking that the metadata are correct…

## Slide 22
Traditional calibration procedures verified the DAS sensitivity and measured shape of system response.

## Slide 23
DC Calibration Test

## Slide 25
Convolve model of sensor response with input
Compare observed output with model
Iterate until fit acceptable

## Slide 26
Individual elements of recording systems are well calibrated, but overall system response may be in error.
Independent recording system used to check the GSN system in place with no need to perturb in situ instruments.
Seismometer calibration:

## Slide 27: Calibrate with independent, portable sensor:
Nanometrics compact Trillium 120 and Taurus digitizer

## Slide 28
APS used to measure orientation of Trillium
Vault at II- ESK (Eskdalemuir, Scoltland)

## Slide 29
Accurate determination of relative response of the common instruments
Accurate determination of relative orientation
2+ hours of microseismic background noise is sufficient for accurate reading

## Slide 30
Sensor Calibration and Orientation
Reference sensor
Reference sensor
GSN sensor
GSN sensor

## Slide 32
Shaketable at UCSD

## Slide 33
Effectiveness of the calibration program can be assessed using long period modes excited by large earthquakes
First used by Davis et al. (2005)

## Slide 34
Sumatra-Andaman earthquake excited many low frequency normal modes
Figure from Park et al. (2004), courtesy G. Roult

## Slide 35
Distributions identify problematic responses…

## Slide 38
Tides are a continuous, constant signal
Tidal amplitudes can be predicted to 1% accuracy globally
Tides are observed at all times at most GSN stations
Use the Earth’s tides:

## Slide 40
A station well fit:
Date

## Slide 41
A station poorly fit:

## Slide 42
The GSN re-calibration program is progressing well with 64 / 153 station completed (42 %)
The program is effective at improving both the accuracy and reliability of the response information published for the GSN network.
Conclusions:

## Slide 43
Pier at the Scripps Institution of Oceanography, UCSD